AUDIT REPORT

Safety File Audit Report

Terrapinn (Pty) Ltd

Sandton Convention Centre — Annual Trade Expo

| Document Ref: | IMPI-AUD-2026-014 |
| --- | --- |
| Checklist Used: | IMPI General Event Safety File Checklist v3 |
| Audit Date: | 28 August 2026 |
| Audited By: | S. Steynfaardt — Safety Officer (SASREA) |
| Overall Compliance: | 68% |
| Status: | PARTIAL COMPLIANCE — ACTION REQUIRED |

Prepared for the exclusive use of the above client. Distribution outside this scope requires written consent.

# Executive Summary

This audit assessed the client-submitted safety file against the IMPI General Event Safety File Checklist (v3), covering governance, risk documentation, emergency preparedness, fire/life safety, and training records. Overall compliance was found to be 68%, with material gaps in fire safety certification and rigging documentation requiring urgent attention prior to the event.

| Category | Items | Compliant | Score |
| --- | --- | --- | --- |
| Governance & Documentation | 8 | 7 | 88% |
| Risk Assessments & Method Statements | 6 | 3 | 50% |
| Emergency Preparedness | 5 | 4 | 80% |
| Fire & Life Safety | 6 | 2 | 33% |
| Training & Competency Records | 5 | 4 | 80% |

# Detailed Findings

| No. | Checklist Item | Regulation Ref. | Status | Notes / Action Required |
| --- | --- | --- | --- | --- |
| 1 | Event Safety Plan submitted and approved | SASREA s.16 | Compliant | On file, signed by ESO |
| 2 | Site-specific Risk Assessment (A×B×C×D=R) | OHS Act s.8 | Partial | Present but not signed off by responsible person — reissue required |
| 3 | Fire equipment service certificates (current) | SANS 1475 / OHS Act | Non-Compliant | Certificates expired March 2026 — must be renewed before event |
| 4 | Emergency Evacuation Plan with marked routes | SASREA s.16 | Compliant | On file, routes verified on site walk-through |
| 5 | First Aid provider SLA & staffing plan | OHS Act | Compliant | Confirmed with named provider |
| 6 | Rigging method statement & lifting plan | Driven Machinery Regs | Non-Compliant | Not provided — to be generated via this portal |

# Recommended Next Steps

Items marked Non-Compliant or Partial above should be actioned before the event date. Where a required document is missing, IMPI can generate it directly via the Safety Audit Portal questionnaire — see the attached document generation summary.